Best Management Practice (BMP) Guide

Retail Gasoline Outlets

# Pollutant Sources

The following are sources of pollution:

- Fueling

- Spills

- Surface cleaning

- Air/Water supply areas

- Dumpster and trash can areas

Pollutants can include:

- Heavy Metals (like copper, lead, nickel, and zinc)

- Hydrocarbons (like oil, grease, PAHs)

- Toxic chemicals (like benzene, toluene, xylene, MTBE)

- Detergents

- Food waste and trash

# Best Management Practice’s

The BMP’s for gasoline service stations are directed toward three activities/areas: fuel dispensing, air/water supply, and outdoor waste receptacles.  There is also a distinction made in BMP’s between existing facilities and new or substantially remodeled facilities.

## Facility- General

- Spot clean leaks and drips routinely.  Leaks are not cleaned up until the absorbent is picked up and disposed or properly.

- Maintain and keep current, as required by other regulations, a spill response plan and ensure that employees are trained on the elements of the plan.

- Manage materials and waste to reduce adverse impacts on stormwater quality.

- Train all employees upon hiring and annually thereafter on proper methods for handling and disposing of waste. Make sure that all employees understand stormwater discharge prohibitions, wastewater discharge requirements, and these BMP’s.  Use a training log or similar method to document training.

- Label drains within the facility boundary, by paint/stencil (or equivalent), to indicate whether they flow to an oil/water separator, directly to the sewer, or to a storm drain.  Labels are not necessary for plumbing fixtures directly connected to the sanitary sewer.

- Inspect and clean, if necessary, storm drain inlets and catch basins within the facility boundary annually.

## Existing Facilities

#1: Fuel Dispensing Areas

- Maintain fuel-dispensing areas using dry cleaning methods (Sweeping for removal of litter and debris, or use of rags and absorbents for leaks and spills).  **Fueling areas should never be washed down unless the wash water is collected and disposed of properly.

- Fit underground storage tanks with spill containment and overfill protection systems meeting the requirements of Section 2635(b) of Title 23 of the California Code of Regulations.

- Fit fuel dispensing nozzles with “hold-open latches” (automatic shut-offs) except where prohibited by local fire code.

- Post-signs at the fuel dispenser or fueling island warning vehicle owners/operators against “topping off” of vehicle fuel tanks.

#2: Outdoor Waste Receptacle Area

- Spot clean leaks and drips routinely to prevent runoff of spillage.

- Minimize the possibility of stormwater pollution from outside waste receptacles by doing at least one of the following:

-Use only watertight waste receptacles and keep lids closed

-Grade and pave the waste receptacle area to prevent run-on of stormwater

-Install a roof over the waste receptacle area

-Install a low containment berm around the waste receptacle area

-Use and maintain drip pans under waste receptacles

#3: Air/water Supply Area

- Minimize the possibility of stormwater pollution from the air/water supply areas by doing at least one of the following:

-Spot clean leaks and drips routinely to prevent runoff from spillage

-Grade and pave the air/water supply area to prevent run-on of stormwater

-Install a roof over the air/water supply area

-Install a low containment berm around the air/water supply area

## New or Substantially Remodeled Facilities

#1: Fuel Dispensing Areas

- Fuel dispensing areas must be paved with portland cement concrete (or, equivalent smooth impervious surface), with a 2% to 4% slope to prevent ponding, and must be separated from the rest of the site be a grade break that prevent run-on of stormwater to the extent practicable.

The fueling area is defined as extending 6.5 feet from the corner of each fuel dispenser or the length at which the hose and nozzle assembly may be operated plus 1-foot, whichever is less.  The paving around the fuel dispensing area may exceed the minimum dimensions of the “fuel dispensing area” stated above.  (Note: This BMP is not specifically intended to apply to facilities that install a new canopy where no canopy existed.)

- The fuel dispensing areas must be covered, and the cover’s minimum dimensions must be equal to or greater than the area within the grade break or the fuel dispensing area, as defined above.  The cover must not drain onto the fuel dispensing area.  (Note: This BMP is intended to apply to facilities that:

-Are located in geographic areas not subject to federal or state stormwater regulations

-Do not discharge stormwater either directly to surface waters or indirectly, through municipal separate storm drain systems

-Do not add fuel dispensers

-Replace, relocate, or add fuel dispensers within the parameters described in the BMP

-Increase their throughput of fuel dispensed without modifying their equipment

-Make only cosmetic or facial appearance changes to their existing canopy)

#2: Outdoor Waste Receptacles

- Grade and pave the outdoor waste receptacle area to prevent run-on of stormwater to the extent practicable.

#3: Air/Water Supply Areas

- Grade and pave the air/water supply area to prevent run-on off stormwater to the extent practicable.

## **Substantially Remodeled Facilities (definition):

One of the following criteria must be meet before a facility is deemed to be substantially remodeled and the design elements described above are required to be included in the new design and construction:

- The canopy cover over the fuel dispensing area is new or is being substantially replaced (not including cosmetic/facial appearance changes only) and the footing is structurally sufficient to support a cover f the minimum dimensions described above

### OR

- One or more fuel dispensers are relocated or added in such a way that the portland cement concrete (or, equivalent) paving and grade break or the canopy cover over the fuel dispensing area do not meet the minimum dimensions as defined above.  Replacements of existing dispensers or underground storage tanks does not by itself, constitute a substantial remodel.