| Minimum BMP’s Applicable to All Facilities | # Buildings and Ground Maintenance |
| --- | --- |
| 1). Stop all non-storm water runoff and trash from entering into the storm drain located in the street. | 1). Leaving or planting native vegetation to reduce maintenance. |
| 2). Regular cleanup and up keep inside and outside of the facility. | 2). Careful use of pesticides and fertilizers. |
| 3). Regular or scheduled preventative maintenance of vehicles and equipment. | 3). Integrated pest management where appropriate. |
| 4). Soil erosion prevented with sandbags or plants in sloped and landscaped areas. | 4). Sweeping of paved surfaces. |
| 5). Post-signs on-site to indicate no dumping of liquids or solid wastes other than rainwater into storm water drains. | ## Parking Area Maintenance |
| 6). Pick up trash in storm drainage system. | 1). Parking areas are kept clean. |
| 7). Adsorbent and towels on hand for use on liquid or oil spills to prevent runoff into the street. | 2). Regularly sweeps and picks up trash in and around parking lots. |
| 8). Storm water runoff routed with sandbags around operating, processing, fueling, cleaning, and storage areas. | 3). Regularly cleans storm drains from trash and plant material. |
| 9). Inspect storage areas and equipment for leaks and rusting; repair promptly if needed. |  |
| 10). Keep dumpster area clean and lid closed. |  |
| 11). Floor mates, filters, and garbage cans are cleaned only in a sink or at a sanitary sewer drain. |  |
| 12). All air conditioning and cooling tower condensate does not drip onto pavement and out to storm drains. |  |
| 13). All employees are informed or trained: -In Spill Prevention and Control -To avoid contaminating storm water -To not put wastewater in the dumpster. |  |